SUPERVISORY CONTROL AND DATA ACQUISITION (SCADA)

AIM:

The main aim of this project is to design a SCADA system to monitor and control various environmental parameters.

PURPOSE:

The purpose of the project is to monitor the environmental parameters as well as control those corresponding appliances from PC.

BLOCK DIAGRAM:

LDR

TEMPERATURE SENSOR

PC

BULB

DC FAN

ADC

0808

POWER SUPPLY

MAX 232

RELAY

LCD DISPLAY

MICRO CONTROLLER

(AT89S52)

SMOKE SENSOR

HUMIDITY SENSOR

WATER PUMP

BUZZER

DRIVER CIRCUIT

RELAY

STEP DOWN

TRANSFORMER

BRIDGE

RECTIFIER

FILTER

CIRCUIT

REGULATOR         SECTION

Power Supply:

DESCRIPTION:

The project is designed to implement a SCADA system, to monitor and control the various environment parameters. Here, the parameters are temperature, humidity, smoke and light. These parameters are sensed by using relevant sensors. Basically, the sensors are physical quantities, which are giving values in analog form. But microcontroller is a digital circuit, which understands the values in digital format only. So, by using ADC, which can convert the values from analog to digital will interface to microcontroller.

Now, the microcontroller has the values of parameters and this will be displayed on PC as well as LCD. The buzzer will buzz if the sensors values exceed the threshold limit. Based upon these values we can control the corresponding appliances like turn ON or OFF using commands from PC.

HARDWARE USED:

- Microcontroller(AT89S52)

- Power Supply

- Light intensity sensor

- Temperature sensor

- Smoke sensor

- Humidity sensor

- ADC 0808

- Bulb

- Relay

- Fan

- Water pump motor

- DC motor

- Buzzer

- MAX 232

- PC

- LCD display

SOFTWARE TOOLS:

- Keil

- Express PCB

- ISP

RESULT:

By using this project we can implement a SCADA system, to monitor and control the various environmental parameters.