SEISMIC EVALUATION OF IRREGULAR STRUCTURES

ABSTRACT

Pushover analysis is a static, nonlinear procedure using simplified nonlinear technique to
estimate seismic structural deformations. It is an incremental static analysis used to determine the
force-displacement relationship, or the capacity curve, for a structure or structural element. Many buildings in the present scenario have irregular configuration both in plan and elevation. This in future may subject to devastating earthquake. In order to identify the most vulnerable
among the models considered, pushover analysis is carried out. The analysis involves applying horizontal loads, in a prescribed pattern, to the structure incrementally, i.e. pushing the structure and plotting the total applied shear force and associated lateral displacement at each increment, until collapse condition. The intensity of the lateral load is slowly increased and the sequence of cracks, yielding, plastic hinge formation, and failure of various structural components is recorded.

In this paper an attempt is made to study the seismic response of RC building with plan irregularities in terms of performance point and the effect of earthquake forces on multi story building frame with the help of pushover analysis. In the present study reinforced concrete framed buildings of irregular plan (according to IS 1893-2002) such as L shapes are analyzed and compared with regular plan (rectangular) with G+5 , G+10 and G+15 storied. The pushover analysis of the building frame is carried out by using software SAP 2000.